## PSAR_FLUSHING_DEDUCT_CALCULATOR
Name of Permittee:
Water Use Permit #:
Report Date:
Reporting Period: | January 2023 - December 2023
(for example, January 2023 - December 2023)
PSAR FLUSHING DEDUCTION CALCULATOR | WATER AUDIT SUMMARY
This calculator provides guidance on Treatment Loss Reporting based on PSAR Definitions.
It is the responsibility of the permittee to ensure values in the PSAR are accurate.
Directions: Fill in GREEN cells. Grey cells are automatically updated. Orange cells are outputs for PSAR reporting.
Unit of Measure Used Throughout Worksheet (Gallons, 1000s Cu Ft, etc.) : * |  | gpd
(Change if using Unit of Measure other than Gallons)
LINE | ITEM | QUANTITY * |  | PSAR
Line No
1. TOTAL SYSTEM WATER SUPPLY (Unadjusted)
a. Total Withdrawals |  |  | gpd | Line 1
b. Imported Water: |  |  | gpd | Line 2
c. Exported Water: |  |  | gpd | Line 3
i. Total Treatment Losses (at WTP, True treatment loss) |  |  | gpd
| TOTAL DELIVERED TO DISTRIBUTION SYSTEM | 0 | gpd
2. Adjusted Treatment Losses for PSAR
i. Total Water Main/Distribution System Flushing |  |  | gpd
ii. 1% of Total Delivered to Distribution System |  | 0 | gpd
ii. Allowable Flushing Deduction (up to 1% of system flows) |  | 0 | gpd
iii. CORRECTED TREATMENT LOSSES FOR PSAR REPORTING |  | 0 | gpd | Line 4
PSAR GROSS WATER USE |  | 0 | gpd | Line 5