## Cost Effectiveness
SWFWMD Cooperative Funding Initiative Water Conservation Project Cost Effectiveness Calculator
Description: A calculation of the cost to develop the project, amortized at 8%, versus the effectiveness of the project over its anticipated life. The calculation enables all types of projects to be compared to each other, as well as other potential uses (investments) of District funds.
Instructions: 1) Enter component type in the "Project/components" column
2) Enter the amount of water conserved into the water savings column. Use the other tabs of this workbook to calculate savings.
3) Enter the total estimated cost of the project (see below for guidelines)
4) Enter the Service life for component - use the figures provided on the right-hand side of this sheet, unless better information is provided
5) Voila! The $/kgal will automatically calculate
6) In instances when there are multiple components with varying service lives, a weighted average will need to be calculated.
6) Upload this workbook and all calculations to your CFI application
| Water savings (gpd) = | Amount of water conserved or made available by the total project
Inputs
Calculation factors
Results
Interest rate (annual %) = |  | 8%
Project / Components | Water Savings (gpd) | Total Estimated Cost* | Service Life | $/kgal | % of Total Savings | Weighted $/Kgal | Weighted Average $ Kgal | Service Life for System Components (years)
|  |  |  | 0 | 0 | 0 | 0 | Component type | Years | Source
|  |  |  | 0 | 0 | 0 |  | Plant Materials | 10 | "Water Conservation Tracking Tool Version 4.0 User Guide: A Tool for Planning and Tracking Urban Water Conservation Programs" by Alliance for Water Efficiency (2021) - turf replacement activity
|  |  |  | 0 | 0 | 0 |  | Faucets | 5 | NA
|  |  |  | 0 | 0 | 0 |  | Showerheads | 10 | "Water Conservation Tracking Tool Version 4.0 User Guide: A Tool for Planning and Tracking Urban Water Conservation Programs" by Alliance for Water Efficiency (2021)
|  |  |  | 0 | 0 | 0 |  | Rain Sensors | 3 | "Long Term Expanding-Disk Rain Sensor Accuracy" (Meeks et al., 2012)
|  |  |  | 0 | 0 | 0 |  | Irrigation System | 5 | NA
|  |  |  | 0 | 0 | 0 |  | Cooling Tower | 10 | Based on Tampa Bay Water Demand Management Plan 2013
|  |  |  | 0 | 0 | 0 |  | Commercial Dishwashers | 20 | "Water Conservation Tracking Tool Version 4.0 User Guide: A Tool for Planning and Tracking Urban Water Conservation Programs" by Alliance for Water Efficiency (2021)
|  |  |  | 0 | 0 | 0 |  | Toilets/Urinals | 25 | "Water Conservation Tracking Tool Version 4.0 User Guide: A Tool for Planning and Tracking Urban Water Conservation Programs" by Alliance for Water Efficiency (2021)
|  |  |  | 0 | 0 | 0 |  | Line Looping | 30 | Based on life expectancy of pipeline
|  |  |  | 0 | 0 | 0 |  | Florida Water Star | 10 | NA
|  |  |  | 0 | 0 | 0 |  | AMA Customer Portal | Variable 1-10 | NA
|  |  |  | 0 | 0 | 0 |  | Soil Moisture Sensors | 10 | Based on discussions with University of Florida
|  |  |  | 0 | 0 | 0 |  | Irrigation/Landscape Evaluation | 5 | "Water Conservation Tracking Tool Version 4.0 User Guide: A Tool for Planning and Tracking Urban Water Conservation Programs" by Alliance for Water Efficiency (2021)
|  |  |  | 0 | 0 | 0 |  | Irrigation Controller | 10 | "Water Conservation Tracking Tool Version 4.0 User Guide: A Tool for Planning and Tracking Urban Water Conservation Programs" by Alliance for Water Efficiency (2021)
Total | 0 | 0 | [5 empty] | High-efficiency Sprinkler Nozzles | 10 | "Water Conservation Tracking Tool Version 4.0 User Guide: A Tool for Planning and Tracking Urban Water Conservation Programs" by Alliance for Water Efficiency (2021)
* Total Estimated Cost - Include all elements that apply, such as:
Program administration (may include consulting fees)
Devices/materials (may include advertising materials, but not including staff time or equipment purchased by the cooperator, such as printers or office space
Data analysis (may include consultant fees, but not cooperator staff time)
Reporting (costs of report production)
Promotion/Marketing/Education (any print work must be done through an outside vendor to qualify for reimbursement)

## Plumbing Fixture Savings
Conservation Activity | Number of Rebates Made Available | % of Rebates Installed as 2nd Rebate1/ % of Showerheads Distributed but not Installed2 | Number of Households Impacted | Old Flow Rate | New Flow Rate | Units | Frequency of Use3 | Units | Persons per Household4 | Estimated Savings (gpd)
Residential Toilet |  | 33% | 0 | 3.5 | 1.28 | Gallons per flush | 5 | Flushes per person per day |  | 0
Residential Showerhead |  | 50% | 0 | 2.5 | 2 | Gallons per minute | 7.8 | Minutes per person per day |  | 0
[9 empty] | Total: | 0
Input Field
Calculation factors (if adjusted provide rationale)
Results
Footnotes | 1. Based on average from 4 rebate programs (Pasco 36%, Marion 34%, Manatee 31%, PRWC 30%) with the SWFWMD District.
2. Based on "BMP Costs and Savings Study: A Guide to Data and Methods for Cost-Effectiveness Analysis of Urban Water Conservation Best Management Practices," prepared for the California Urban Water Conservation Council by A & N Technical Services, Inc. (2005).
3. Values based on "Residential Ends Use of Water, Version 2" (DeOreo et al. 2016)
4. Persons per household from most recent Census block information.

## Landscape & Irrigation Savings
| Average or Targeted Monthly Account Use1 | Gallons per day (gpd) | Average Indoor Use per Person (gpcd)2 | Persons per Household3 | Average Indoor Use (gpd) | Estimated Outdoor Use (gpd) | Estimated % Reduction in Outdoor Water Use4 | Savings per Implementation5 | Number of Expected Implementations | Estimated Total Project Savings (gpd)
Single-Family Home |  | 0 | 58.6 |  | 0 | 0 | 0% | 0 |  | 0
Inputs
Calculation factors (if adjusted, provide rationale)
Results
Footnotes | 1. For highest savings, outdoor projects should be targeted to utilities’ top 15% of residential accounts (Top 15%=11% Low + 2% Medium + 2% High irrigators), based on "Determination of Landscape Irrigation Water Use in Southwest Florida (B283)" (Dukes and Boyer, 2018). Average outdoor use of the top 15% is 332 gpd (Dukes and Boyer, 2018).
2. Based on "Residential Ends Use of Water, Version 2" (DeOreo et al. 2016).
3. Persons per household from most recent Census block information.
4. Use table below if estimate unknown
5. If savings per implementation is known, enter number and skip prior cells
Conservation Activity | Estimated Savings Rate | Estimated Savings Rate (gpd) | Source
Soil Moisture Sensor | 35% |  | "Estimated Water Savings Potential of Florida-Friendly Activities" (Boyer and Dukes, 2015)
Smart ET Controller | 35% |  | "Estimated Water Savings Potential of Florida-Friendly Activities" (Boyer and Dukes, 2015)
Irrigation Evaluation for High Users | 20%-25% | 140 -250 | Final reports for N714, N538, N640,N820, N822. AWE 2021 tracking tool uses savings rate of 15%
Rain Sensor | 8% |  | "Estimated Water Savings Potential of Florida-Friendly Activities" (Boyer and Dukes, 2015). 3-year life based on "Long Term Expanding-Disk Rain Sensor Accuracy" (Meeks et al., 2012)
High-efficiency Sprinkler Nozzles | 17% |  | UF Analysis of Orange County Utilities' program (Dukes and Cardenas (2020). https://watersmartinnovations.com/webinars/)
Other |  |  | Base on other reasonable data
More conservative estimates are accepted and in some cases recommended

## Golf Course Savings
Current System |  | New System |  | Percent Savings Per Event | Current Average Irrigation Water Use (gpd)1 | Estimated Savings (gpd)
Number of Heads |  | Number of Heads |  | #DIV/0! |  | #DIV/0!
Average Runtime per Head (min) |  | Average Runtime per Head (min)
Average Flow Rate per Head (gpm) |  | Average Flow Rate per Head (gpm)
Water Use per Irrigation Event | 0 | Water Use per Irrigation Event | 0
Inputs
Calculation factors (if adjusted, provide rationale)
Results
Footnotes | 1. Base on prior year's yearly average gallons per day

## Line-Looping Savings
| Monthly Flushing Quantity (gallons) | Average Flushing Quantity for Year (gpd) | Anticipated Flushing Reduction (%) | Anticipated Flushing Reduction (gpd) | Number of New Homes Connected at Time of Construction | Historical Growth Rate of Local Area in New Homes per Year 1 | New Homes Anticipated to be Connected in the Next 20 Years | Average Indoor Use per Person (gpcd)2 | Persons per Household3 | Estimated Indoor Water Use per Home (gpd) | Estimated New Demand from New Connections | District-estimated Water Savings (Flushing Reduction - New Demand)
January |  | 0 |  | 0 |  |  | 0 | 58.6 |  | 0 | 0 | 0
February
March
April
May
June
July
August
September
October
November
December
Year total | 0
Input Field
Calculation factors (if adjusted provide rationale)
Results
Footnotes | 1. Historical growth rate calculated by evaluating year built data from property appraser. Local area means within neighborhood or simular neighborhood.
2. Based on "Residential Ends Use of Water, Version 2" (DeOreo et al. 2016).
3. Persons per household from most recent Census block information.

## AMA Savings
Active Implementation (All customers receive conservation outreach) | [6 empty] | Passive Implementation (Customer portal available for customers to sign-up)
Number of Households Targeted | Persons per Household | Residential per Capita | Water Use at Participating Homes (gpd) | Percent Savings1 | Estimated Savings (gpd) | OR | Number of Households Targeted | Percent of Households that Sign-up2 | Number of Households Affected | Persons per Household | Residential per Capita | Water Use at Participating Homes (gpd) | Percent Savings1 | Estimated Savings (gpd)
|  |  | 0 | 3% | 0 |  |  | 10% | 0 |  |  | 0 | 3% | 0
Input Field
Calculation factors (if adjusted provide rationale)
Results
Footnotes | 1. Conservative estimate. If adjusted, provide rationale.
2. Conservative estimate. If adjusted, provide rationale.

## Florida Water Star Savings
Number of Homes/Rebates to be Issued | Savings per Certified Home (gpd)1 | Estimated Savings (gpd)
| 132 | 0 | Input Field
Calculation factors (if adjusted provide rationale)
Results
Footnotes | 1. Based on analysis performed by SWFWMD and UF/IFAS