## Slide 1
Frostproof Site
Summary of Phase 1 Results – Presentation to the Public Supply & Industrial Advisory Committees
Hydrogeological Investigation of
the Lower Floridan Aquifer (P280)
August 13, 2019

## Slide 2
Introduction and Background
Phase 1
  Purpose and Objectives
Phase 1 Drilling and Testing Program
Phase 1 Results
  Lithology
  Groundwater Elevations
  Water Quality
  Hydraulic Parameters
  Monitoring Well Installation
Next Steps
AGENDA
2

## Slide 3
INTRODUCTION
Frostproof Site
      One of three P280 LFA well drilling sites
  Southern most site
  Near Frostproof, FL
3

## Slide 4
4

## Slide 5
BACKGROUND
HYDROGEOLOGY
5
Approximate project location

## Slide 6
Phase 1— Purpose & Objectives
Raw Water Production
                Determine if the LFA can support future brackish water supply
Confinement
  Determine if there is sufficient confinement between UFA/LFA
Concentrate Disposal
  Determine if the LFA could support future injection wells for membrane concentrate disposal
6

## Slide 7
Phase 1—Drilling & Testing Program
Monitoring Well Installation
  Surficial aquifer (SAMW-1)
  Upper Floridan aquifer (UFAMW-1)
Drilling
  Drill to sub-Floridan confinement
  Continuous lithologic sampling
  Cores at four discrete depths
Groundwater Elevations
7
Geophysical and OBI Logging
Hydraulic and Water Quality Data
  Incrementally during drilling
Packer Testing
  7 discrete depths
LFA Monitoring Well Completion
  Dual zone monitoring, LFAI, LFAII(a)
Constant Rate Aquifer Tests
  Water quality sampling

## Slide 8
8

## Slide 9
10
Chart: Groundwater Elevation (ft NAVD88)
Note: GWEs not corrected for salinity
Intermediate casing installation
Phase 1—Groundwater Elevation (ft NAVD88)

## Slide 10
11
Phase 1—Groundwater Elevation (ft NAVD88)
Chart: Groundwater Elevation at UFAMW-1 and MZMW-1 (ft NAVD88)
Note: GWEs not corrected for salinity
Intermediate casing installation
<0.5 ft
Depth of Drilled Pilot Hole (ft bgs)

## Slide 11
Graphic plots MZMW-1 GWE – UFAMW-1 GWE
Negative difference = downward vertical gradient
LFAI groundwater elevations similar to UFA groundwater elevations
Downward gradient after intermediate casing set
Interflow in the borehole affected water quality results
12
Chart: feet
| -20 | 20
 | 1644 | 1644
Note: GWEs not corrected for salinity
Intermediate casing
UFA/LFA Groundwater Elevation Difference
Phase 1 Results—Vertical Flow Gradients

## Slide 12
Phase 1 Results—Water Quality
Downward flow in the borehole affected water quality results
Little variation observed between LFAII(a) and LFAII(b) due to intermixing
LFAII
  Chloride ~70 mg/L
  Sulfate ~ 1,800 mg/L
  TDS ~ 3,000 mg/L
13
Chart: Concentration (mg/L)
| 0.1 | 1000000
 | 1644 | 1644
Intermediate
casing
MZMW-1 Drill Stem Water Quality

## Slide 13
14
Phase 1 Results—Geophysics with Tentative Hydrogeologic Picks

## Slide 14
15

## Slide 15
Phase 1— Remaining Testing
LFA Monitoring Well Completion
  Dual zone monitoring
Constant Rate Aquifer Tests
  Pumping rate: ~200 – 500 gpm
      LFA I
    LFA II(a)
  Monitoring zones: SA, UFA, LFA I, LFA II(a)
  Water quality: primary, secondary, RO analytes
Lab permeabilities on core
16

## Slide 16
Phase 1—Conclusions
Production zone in LFA II(a)
  3 gpm/ft, estimated
UFA/LFA confinement was identified
  >500 ft thickness
  Packer testing and flow compilation log suggest good confinement
  No effects observed in UFA during testing program
17
Injection zone in LFA II(b)
  6 gpm/ft, estimated
Confinement between LFA II(a) and LFAII(b)
  ~300 ft thickness
  Geophysical logs suggest two distinct flow zones separated by confining interval
Water Supply
Concentrate Disposal

## Slide 17
Next Steps at Crooked Lake/Frostproof/Lake Wales
Crooked Lake
  Construction on-going with dual zone LFA monitoring well
Frostproof
  Complete Phase 1
  Just kicked-off Phase 2
Lake Wales
  Construction on-going with Phase 1 (similar to Frostproof testing)
18

## Slide 18
QUESTIONS & COMMENTS
19

## Slide 19
Phase 1 Results—Lithology and Tentative
Hydrogeologic Picks
9
Stratigraphy |  | Begin Depth (ft bgs) | End Depth (ft bgs) | Thickness (ft)
Ground Surface | GS | 0 | 0 | 0
Surficial Aquifer | SA | 0 | 70 | 70
Confining Unit | CU | 70 | 270 | 200
Upper Floridan Aquifer | UFA | 270 | 625 | 355
Ocala Low Permeability Zone | OCAL LPZ | 270 | 450 | 180
Middle Confining Unit I | MCUI | 625 | 820 | 195
Avon Park High Permeability Zone | AVPK HPZ | 820 | 1075 | 255
Lower Floridan Aquifer I | LFAI | 1075 | 1250 | 175
Middle Confining Unit II | MCUII | 1250 | 1850 | 
Lower Floridan Aquifer IIa | LFAII(a) | 1850 | 2185 | 335
Confining Unit | CU | 2185 | 2475 | 290
Lower Floridan Aquifer IIb | LFAII(b) | 2475 | 2780 | 305
Sub-Floridan Confining Unit | SFCU | 2780 | 3300 | 520
600