## WATER AUDIT-INPUTS
WATER AUDIT WORKSHEET
INTRODUCTION:
This spreadsheet is a basic water-balance audit tool for use in conducting a water audit of a public water supply utility. The goal of this audit worksheet is to quantify the water inputs and outputs in a utility distribution system to determine the sources of water loss. This spreadsheet also contains a simple "confindence" tool, so that the user can record how confident they are in each piece of the water balance. This can be helpful for prioritizing future efforts to measure different water uses or losses.
STEPS:
1) Fill out the Raw Source Water Production Worksheet, starting on page 5 (scroll down). This will create a list of water sources into the treatment plant. Fill out a section for each production meter at a well or surface intake.
2) Fill out the water supply data on page 2. This will incorporate imports, exports, and treatment losses to the raw water production, to determine how much water is entering the distribution system.
3) Fill out the water use data on pages 3-4. Page 3 focuses on metered, billed water use (revenue water). Page 4 focuses on authorized, non-revenue water uses, such as fire training.
4) Once pages 2-4 and the raw source water production section are complete, a summary of the system water balance is provided on page 1. This will include a calculation of unaccounted water, and overall water loss.
Note: There are additional instructions and guidance for most inputs in the water balance worksheet. These notes are located to the right of each section. Scrolling to the right may be needed to read these instructions.
GENERAL INSTRUCTIONS FOR USING AUTOMATED WATER AUDIT WORKSHEET:
This tool is intended to be used as a diagnostic tool to indentify water losses and aid in developing a remedial action plan to reduce water losses in a public supply system. The use of this tool for water audit purposes and decision making is the responsibility of the utility. Note that some sections are simplified from the reporting criteria required for the Public Supply Annual Report.
For any questions, please contact Thomas Kiger, Water Supply Engineer, in the SWFWMD Water Supply Section at 1-352-796-7211 ext. 4536. Comments are always welcome as well.
1. Prior to starting, make a "working" copy of this file. Archive the original so that
you can start from scratch, if necessary.
| 2 | The cells in this file are color-coded to aid the user. Example cells are illustrated below.
|  | INPUT | GREEN CELLS ARE MANDATORY INPUTS
|  | INPUT | BLUE CELLS ARE OPTIONAL INPUTS. USE THESE ITEMS IF THEY PERTAIN TO
YOUR UTILITY. OTHERWISE, LEAVE THESE CELLS BLANK OR ENTER "0".
|  | OUTPUT | RED CELLS ARE CALCULATED VALUES (OUTPUTS). DO NOT ENTER DATA IN RED CELLS.
| 3 | Next to each input, there is a cell labeled "Confidence." On a scale of 0% to 100%, fill out how confident you
are in the number you entered. For example, if you know there was no water exported to other utilities
in the audit period, then you could fill the confidence cell next to the "Exports" input with "100%."
Depending on you confidence, this cell will change from red to green, and this is useful in tracking
which water uses are known, and developing a plan to measure or meter different water uses.
Confidence
50%
SOUTHWEST FLORIDA WATER MANAGEMENT DISTRICT
PAGE 1
|  | Name of Permittee: | TRIAL |  |  |  | Enter the name as it appears on the Water Use Permit (e.g., City of Tampa, Orange Lake Utilities, etc.).
|  | Water Use Permit #: | NA |  |  |  | Enter the number on the Water Use Permit.
|  | Report Date: |  |  |  |  | Enter the date that the water audit is required (e.g., January 1993).
|  | Audit Period: |  |  |  |  | Indicate the time period over which data for the audit was compiled. Ideally, this should be the most recent 12-month period.
(for example, January 2010 - December 2010)
This is a summary page. Please fill out the water use data in pages 2 through 4. Please fill out raw source water
production on the Raw Source Water Production Worksheet, FORM 5.
|  | Unit of Measure Used Throughout Worksheet (Gallons, 1000s Cu Ft, etc.) : * |  | Gallons |  |  | Change only if using Unit of Measure other than Gallons
(Change if using Unit of Measure other than Gallons)
|  | WATER AUDIT SUMMARY | WATER AUDIT SUMMARY
|  |  |  | QUANTITY |  | % OF TOTAL
WATER SUPPLY
|  | TOTAL SYSTEM WATER SUPPLY (Unadjusted): |  | 250020000 | Gallons | 100%
CONSUMPTION AND LOSS
|  | TREATMENT LOSSES AND EXPORTS |  | 20000 | Gallons | 0.007999%
|  | REVENUE WATER |  | 151000000 | Gallons | 60.4%
|  | UNBILLED AUTHORIZED CONSUMPTION |  | 11650000 | Gallons | 4.66%
|  | APPARENT LOSSES |  | 15545578.2313 | Gallons | 6.218%
|  | REAL LOSSES |  | 71804421.7687 | Gallons | 28.72% | 100% | SPREADSHEET ADDS UP! RESULTS BALANCE!
PAGE 2
TOTAL SYSTEM WATER SUPPLY
Note: The production meter reading dates should match the audit billing period
Total Raw Source Water Production
(Fill out Raw Source Water Production Worksheet, PAGE 5.)
|  | a. Total Raw Source Water Production (Unadjusted) |  | 250000000 |  |  | No entry required: Automatically calculated. Fill out productoin meter sheet on page 5.
|  | b. Apparent Water Losses: Production Meter Inaccuracies |  | 11904761.9048 |  |  | No entry required: Automatically calculated. Fill out productoin meter sheet on page 5.
Confidence
|  | c. Total Raw Water Production (Corrected): |  | 238095238.0952 | Gallons | 50% | No entry required: Automatically calculated. Fill out productoin meter sheet on page 5.
|  | Water Imported: |  |  |  | Confidence
|  | a. Total Metered Water Imports: |  | 20000 | Gallons | 50% | Imported water from utility interconnects.
|  | c. Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % | 50% | The percentage (%) adjustment, based on a legitimate meter test. Enter this percentage. For example, if the meter test proves the meter is over-registering by 5.5%, you should enter 5.5 to indicate that the meter reading i
|  | d. Total Imports (Metered, Corrected): |  | 20000 | Gallons | 50% | No entry required: Automatically calculated
|  | Water Exported: |  |  |  | Confidence
|  | a. Total Metered Export Consumption (Billed): |  | 10000 | Gallons | 50% | Exported water to other utilities via interconnects.
|  | b. Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % | 50% | The percentage (%) adjustment, based on a legitimate meter test. Enter this percentage. For example, if the meter test proves the meter is over-registering by 5.5%, you should enter 5.5 to indicate that the meter reading i
|  | Total Exports (Metered, Corrected): |  | 10000 | Gallons | 50% | No entry required: Automatically calculated
|  | Treatment Losses |  |  |  | Confidence
|  | a. Filter Backwashing, Metered Treatment Process Losses |  | 10000 | Gallons | 50% | Calculate total water losses/uses at the treatment plant (backwashing, etc).
|  | b. Well Purging |  | 0 | Gallons | 50% | Entry required only if applicable (Depending on meter location, this may be metered).
|  | c. Other Quantified Treatment Losses |  | 0 | Gallons | 50% | Calculate other losses/uses inside the WTP. Include lube lines for wells, drip-feeds for chlorine analyzers, and other utility uses.
(Chlorine Analyzer Feed, Lube Lines, etc)
|  | Total Treatment Losses |  | 10000 | Gallons | 50% | Total treatment losses are the difference between raw source water production and the finished water delivered to the distribution system.
Confidence
|  | TOTAL WATER SUPPLIED (Unadjusted, to Distribution System): |  | 250000000 | Gallons | 50%
|  | TOTAL SUPPLY METER INACCURACIES (APPARENT LOSSES) |  | 11904761.9048 | Gallons | 50%
|  | TOTAL SYSTEM WATER SUPPLY (Corrected): |  | 238095238.0952 | Gallons | 50%
PAGE 3
BILLED AUTHORIZED WATER CONSUMPTION:
Metered sales to water service lines for the audit period
Note: The audit billing period should match production meter reading dates.
|  | Meter Data: | 2100 | 5 |  |  | Record the total number of connections and the number of meters tested. Ideally, random service meter testing will include five (5) percent of all service meters in use.
|  |  | Total Number of Service Meters (Connections) | Number Tested
Confidence
|  | Total Residential Metered Consumption (Billed): |  | 100000000 | Gallons | 50% | The total metered residential consumption billed during the audit period. This information is usually obtained from billing data.
(from meter reading or "billing" records)
|  | Estimated Percentage (%) Error for Service Meter Inaccuracy: |  | -2 | % | 50% | The percentage (%) adjustment, based on a legitimate meter test. For example, if the meter test proves the meter is over-registering by 5.5%, you should enter 5.5 to indicate that the meter reading i
(Based on service meter accuracy testing program)
|  | Estimated Residential Water Use Losses (Non-Revenue) |  | 2040816.3265 |  | 50% | This value is the estimated loss due to service meter inaccuracy. It is the estimated quantity of water consumed by customers which is not captured by the service meter and thus is not billed.
Confidence
|  | Total Non-Residential Metered Consumption (Billed): |  | 50000000 | Gallons | 50% | The total metered commerical/industrial consumption billed during the audit period. This information is usually obtained from billing data.
(Metered, Billed uses: Commercial, Industrial, Agriculture, etc)
|  | Estimated Percentage (%) Error Service Meter Inaccuracy: |  | 0 | % | 50% | The percentage (%) adjustment, based on a legitimate meter test. For example, if the meter test proves the meter is over-registering by 5.5%, you should enter 5.5 to indicate that the meter reading i
(Based on service meter accuracy testing program)
|  | Estimated Non-Residential Water Use Losses (Non-Revenue) |  | 0 |  | 50% | This value is the estimated loss due to service meter inaccuracy. It is the estimated quantity of water consumed by customers which is not captured by the service meter and thus is not billed.
Confidence
|  | Metered Bulk Sales |  | 1000000 | Gallons | 50% | The total metered bulk sales billed during the audit period. This information is usually obtained from billing data.
(METERED ONLY, tank trucks, construction, etc)
|  | Estimated Percentage (%) Error Service Meter Inaccuracy: |  | 0 | % | 50% | The percentage (%) adjustment, based on a legitimate meter test. For example, if the meter test proves the meter is over-registering by 5.5%, you should enter 5.5 to indicate that the meter reading i
(Based on service meter accuracy testing program)
|  | Estimated Bulk Sales Water Losses (Non-Revenue) |  | 0 |  | 50% | This value is the estimated loss due to service meter inaccuracy. It is the estimated quantity of water consumed by customers which is not captured by the service meter and thus is not billed.
|  | Total Billed Unmetered Consumption** |  | 0 | Gallons | 50% | Estimate total consumption from authorized UNMETERED customers which receive a bill. Unmetered, billed uses sometimes include City Hall, schools, or other municipal uses.
|  | Estimated Systematic Billing and Reporting Errors |  | 1000000 | Gallons | 50% | Billing and Reporting Errors are any data errors such as poor meter readings, software errors, billing credits, etc that result in lost revenue water.
|  | CUSTOMER METER INACCURACIES (Apparent Losses) |  | 2040816.3265 | Gallons | 50% | Total estimated apparent loss due to service meter inaccuracy. It is the estimated quantity of water consumed by customers which is not captured by the service meter and thus is not billed.
|  | TOTAL BILLED METERED CONSUMPTION: |  | 151000000 | Gallons | 50% | Total billed water consumption for metered customers.
PAGE 4
AUTHORIZED NON-REVENUE WATER USES
|  | Total Water Main/Distribution System Flushing |  |  |  | Confidence
|  | (Include accounted water main flushing for water quality purposes) |  | 10000000 | Gallons | 50%
|  | Authorized, Non-Revenue Water Uses (Provide adequate documentation for all appropriate uses. |  |  |  |  | Note: Nearly all water distribution systems have some authorized but unmetered water uses. It should be noted that entries rely on accurate actual data and/or estimation of usage.
|  | Submit calculations and frequency, i.e., schedule of use, for each category used.) |  |  |  |  | In some cases, quantities must be requested from individuals who do not work in the distribution system, such as the fire chief. Document calculations and schedules of use, as appropriate for each category.
Confidence
|  | a. Fire Fighting, Testing, and Training: |  | 1000000 | Gallons | 50% | Tracked or estimated fire flows including fire training and testing.
Confidence
|  | b. Public Area Irrigation/Sanitary Use: |  | 500000 | Gallons | 50% | Unbilled, unmetered authorized uses for municipal facilities, etc.
Confidence
|  | c. Street Cleaning: |  | 50000 | Gallons | 50% | Estimate based on time/pressure/nozzle size estimates if a hydrant is used, or the tank size if a street sweeping vehicle is used.
Confidence
|  | d. Tank Filling/Draining: |  | 100000 | Gallons | 50% | Estimate based on volume in storage tank, if drained for cleaning or other maintenance.
(Water Pumped into tanks and stored or drained during audit period)
Confidence
|  | e. Water Quality Testing: |  | 0 | Gallons | 50% | Estimate flushing for water quality testing; Can be tracked based on flow rates and run times.
|  | f. Storm Drain Flushing: |  | 0 | Gallons | 50% | Estimate based on time/pressure/nozzle size estimates if a hydrant is used as the source for flushing.
Confidence
|  | g. Sewer Flushing: |  | 0 | Gallons | 50% | Estimate based on time/pressure/nozzle size.
Confidence
|  | h. Other Accounted Uses (Specify and Document): |  | 0 | Gallons | 50% | Entry required only if applicable. Possible uses inclue utility uses, flushing for new line installations, etc.
Confidence
|  | Total Authorized Non-Revenue Water Uses: |  | 1650000 | Gallons | 50% | Total Authorized Non-Revenue water uses.
UNAUTHORIZED CONSUMPTION
[6 empty] | Confidence | AWWA Reccommended Value for Unauthorized Consumption:
|  | Total Unauthorized Consumption |  | 600000 | Gallons | 50% | 595238.0952 | Gallons | (0.25% of distribution system flows)
(Unathorized consumption includes illegal connections, unbilled use of hydrants, etc.
AWWA reccommends estimating unauthorized consumption as 0.25% of
of system water supply. This value is provided to the right.
If your system has greater unauthorized consuption, provide your best estimate.)
ACCOUNTED REAL WATER LOSSES
Total Accounted Real Loss for Audit Period
Confidence
|  | a. Repaired Distribution System Leaks/Line Breaks: |  | 5000000 | Gallons | 50% | Estimate losses based on run times, pressure, pipe size.
(ONLY include identified individual leaks and breaks that
have been accounted based on leakage rates and times).
Confidence
|  | b. Tank Overflows and Leakage |  | 0 | Gallons | 50% | Estimate losses based on run times, flow rates, etc.
ESTIMATED LEAKAGE
|  | LEAKAGE- DISTRIBUTION SYSTEM (UNACCOUNTED WATER)*** |  | 66804421.7687 | Gallons | 50%
FORM 5. RAW SOURCE WATER PRODUCTION WORKSHEET - Automated Version, Page 5
Fill out the raw water production for the audit period for each production meter (usually one per well).
If production meters have been tested recently, a percentage adjustment may be used for each meter.
If meter accuracy is unknown, use 0% for meter error.
RAW WATER PRODUCTION SUMMARY
|  | TOTAL RAW SOURCE WATER PRODUCTION (UNADJUSTED): |  | 250000000 | Gallons |  | Total water production for all meters based solely on meter readings before correcting for meter inaccuracies.
|  | APPARENT WATER LOSS: PRODUCTION METER INACCURACIES |  | 11904761.9048 | Gallons |  | Total apparent losses (paper losses) based on known meter inaccuracies. This is the difference between what the meter read and what actually flowed through the meter.
|  | TOTAL RAW SOURCE WATER PRODUCTION (CORRECTED) |  | 238095238.0952 | Gallons |  | Total water production for all meters after correcting for meter inaccuracies.
SOURCE WATER PRODUCTION METER #1
Confidence
|  | Meter ID: | North Plant | 1 |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 250000000 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 250000000 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 5 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 238095238.0952 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
ADDITIONAL SOURCE WATER PRODUCTION METERS
[6 empty] | Confidence | Note: Use the remaining portion of Form 5 only if more than one (1) source meter is being used in the water audit. If only one (1) meter exists, the remaining entries on Form 5 are not applicable.
|  | Meter ID: | South Plant | 2 |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
FORM 5. RAW SOURCE WATER PRODUCTION WORKSHEET - Automated Version, Page 6
ADDITIONAL SOURCE WATER PRODUCTION METERS
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
FORM 5. RAW SOURCE WATER PRODUCTION WORKSHEET - Automated Version, Page 7
|  | LINE | ITEM | QUANTITY *
ADDITIONAL SOURCE WATER PRODUCTION METERS
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
FORM 5. RAW SOURCE WATER PRODUCTION WORKSHEET - Automated Version, Page 8
|  | LINE | ITEM | QUANTITY *
ADDITIONAL SOURCE WATER PRODUCTION METERS
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
FORM 5. RAW SOURCE WATER PRODUCTION WORKSHEET - Automated Version, Page 9
|  | LINE | ITEM | QUANTITY *
ADDITIONAL SOURCE WATER PRODUCTION METERS
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
FORM 5. RAW SOURCE WATER PRODUCTION WORKSHEET - Automated Version, Page 10
|  | LINE | ITEM | QUANTITY *
ADDITIONAL SOURCE WATER PRODUCTION METERS
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
FORM 5. RAW SOURCE WATER PRODUCTION WORKSHEET - Automated Version, Page 11
|  | LINE | ITEM | QUANTITY *
ADDITIONAL SOURCE WATER PRODUCTION METERS
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
FORM 5. RAW SOURCE WATER PRODUCTION WORKSHEET - Automated Version, Page 11
|  | LINE | ITEM | QUANTITY *
ADDITIONAL SOURCE WATER PRODUCTION METERS
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
FORM 5. RAW SOURCE WATER PRODUCTION WORKSHEET - Automated Version, Page 12
|  | LINE | ITEM | QUANTITY *
ADDITIONAL SOURCE WATER PRODUCTION METERS
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
FORM 5. RAW SOURCE WATER PRODUCTION WORKSHEET - Automated Version, Page 13
|  | LINE | ITEM | QUANTITY *
ADDITIONAL SOURCE WATER PRODUCTION METERS
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
FORM 5. RAW SOURCE WATER PRODUCTION WORKSHEET - Automated Version, Page 14
|  | LINE | ITEM | QUANTITY *
ADDITIONAL SOURCE WATER PRODUCTION METERS
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
FORM 5. RAW SOURCE WATER PRODUCTION WORKSHEET - Automated Version, Page 15
|  | LINE | ITEM | QUANTITY *
ADDITIONAL SOURCE WATER PRODUCTION METERS
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
FORM 5. RAW SOURCE WATER PRODUCTION WORKSHEET - Automated Version, Page 16
|  | LINE | ITEM | QUANTITY *
ADDITIONAL SOURCE WATER PRODUCTION METERS
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
Confidence
|  | Meter ID: |  |  |  | 50% | Record the Well Name, Meter Brand (e.g., Rockwell, Badger, Precision, etc.) and the manufacturers serial number.
|  |  | Well Name/ Meter Brand (Manufacturer) / Serial No. | SWFWMD DID#
|  | Final Meter Reading (At End of Audit Period). |  | 0 | Gallons |  | The final meter reading is the reading at the conclusion of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the last source meter reading in December (e.g., December 31st).
|  | Peliminary Meter Reading (At Start of Audit Period): |  | 0 | Gallons |  | The preliminary meter reading is the reading at the beginning of the audit period. If the audit period is for the twelve (12) month period from January through December, this entry would be the first source meter reading in January (e.g., January 1st).
|  | Uncorrected Total Water Supply: |  | 0 | Gallons |  | Total water production based on meter readings before correcting for meter inaccuracies.
|  | Percentage (%) Error for Source Meter Inaccuracy: |  | 0 | % |  | The percentage adjustment, based on a legitimate meter test. For example, if a meter test proves the meter is over-registering by 5.5%, enter 5.5 to indicate that the meter is reading high.
|  | Corrected Total Production for This Meter: |  | 0 | Gallons |  | This is an estimate of the actual water production through the source meter, after correction for meter inaccuracies.
-END OF FILE-
Note on E103: Thomas Kiger: Meter accuracy corrections may be required.

## WATER BALANCE-SUMMARY
WATER AUDIT SUMMARY
Name of Permittee:
Water Use Permit #:
Report Date:
Audit Period:
Raw Source Water Production |  | System Volume Input |  | Water Supplied |  | Authorized Consumption |  | Billed Authorized |  | Billed Metered Consumption |  | REVENUE WATER
250000000 |  | 250020000 |  | 250000000 | 100% | 162650000 | 65.06% | Consumption |  | 151000000 | 60.4% | 151000000 | 60.4%
|  |  |  | (Distribution System Volume) |  |  |  | 151000000 | 60.4% | Billed Unmetered Consumption
|  |  |  | (Similar to Gross Water Use in PSAR)* | [5 empty] | 0 | 0%
[8 empty] | Unbilled Authorized |  | Authorized Non-Revenue Water Consumption |  | NON-REVENUE WATER
[8 empty] | Consumption |  | 1650000 | 0.66% | 99000000 | 39.6%
[8 empty] | 11650000 | 4.66% | Main Flushing for Water Quality
[10 empty] | 10000000 | 4%
[6 empty] | Water Losses |  | Real Losses |  | Accounted Tank Overflows/Leakage
[6 empty] | 87350000 | 34.94% | 71804421.7687 | 28.72% | 0 | 0%
Accounted Main Breaks and Repaired Leaks
[10 empty] | 5000000 | 2%
Leakage - Distribution System
[10 empty] | 66804421.7687 | 26.72%
[8 empty] | Apparent Losses |  | Customer Metering Inaccuracies
Imports | [7 empty] | 15545578.2313 | 6.218% | 2040816.3265 | 0.8163%
20000 | [9 empty] | Unauthorized Consumption
[10 empty] | 600000 | 0.24%
Supply Meter Inaccuracies
[10 empty] | 11904761.9048 | 4.762%
Systematic Reporting Errors
[10 empty] | 1000000 | 0.4%
Treatment Losses
10000
Exports
10000
* PSAR Gross water use may include a flushing deduction of up to 1% of water supplied.
This deduction is not represented here to maintain an accurate water balance.
250020000 | 0% | 250020000 | 0% | 250020000 | 100% | 250020000 | 100% | 250020000 | 100% | 250020000 | 100% | 250020000 | 100%

## Utility Tools and Performance
Utility Performance Summary
Name of Permittee:
Water Use Permit #:
Report Date:
Audit Period:
Directions:
To assess the efficiency of operation and finacial performance of your utility, please fill in the GREEN cells below.
RED Cells are calculated values. Do not enter data in these cells.
The utility performance data provided here are to provide helpful tools to utility staff. These are for informational
purposes only and are not regulatory in nature. Where applicable, performance standards are based on AWWA guidance.
SYSTEM ATTRIBUTES
Length of mains | 150 | miles
Number of active and inactive service connections | 700 | Connections
Average Length of Customer Service Lines | 10 | ft |  | <------ | Note: Length of service lines beyond the property boundary that is the responcibility of the utility.
Note: Input "0" if customer meters are located at the property boundary or curbstop.
Average Operating Pressure | 60 | PSI
COST DATA
Total Annual Operting Costs (Annual Budget) | 600000 | $/Year
Customer Retail Unit Cost (average) | 3 | $/1000 gals
Variable Production Costs (or Import Costs) | 1.5 | $/1000 gals
Performance Indicators
System Attributes
Water Losses | 87350000 | Gallons
Real Losses | 71804421.7687 | Gallons
Lost Revenue Water (Apparent Losses) | 3640816.3265 | Gallons |  |  | Note: Lost Revenue Water = Apparent Losses to Customer Meters, Unauthorized Consumption, and Billings Errors
Unavoidable Real Loss | 21713850 | Gallons | /year
Unavoidable Real Loss | 59490 | gpd
Operational Efficiency
Real Losses per connection per day | 281.0349 | gpd/connection
Real Losses per mile of main per day | 1311.4963 | gpd/mile
Real Losses per Connection per PSI | 4.6839 | gpd/connection/PSI
Lost Revenue Water per Connection per day | 14.2498 | gpd/connection
Financial Performance
Percent Non-Revenue Water (Gross) | 39.6%
Percent Non-Revenue Water (Adjusted for Supply Meters) | 36.58%
Cost of Non-Revenue Water | 130642.8571 | per year | Note: Adjusted for Supply Meter Accuracy
Non-Revenue Water as a Percentage of Operating Cost | 21.77% | of Operating Budget | Note: Adjusted for Supply Meter Accuracy
Cost of Real Losses | 107706.6327 | per year
Lost Revenue | 10922.449 | per year